LAKIREDDY BALIREDDY COLLEGE OF ENGINEERING

(AUTONOMOUS)

(Approved by AICTE, Accredited by NBA,

Affiliated to JNTUK, Kakinada and ISO 9001: 2008 Certified)

ACADEMIC REGULATIONS,

COURSE STRUCTURE

AND

DETAILED SYLLABUS

2010 - 2011

M.TECH – THERMAL ENGINEERING

DEPARTMENT OF MECHANICAL ENGINEERING

L.B.Reddy Nagar, MYLAVARAM – 521 230

Krishna District, Andhra Pradesh State

INDEX

Contents 								   Page No.

- Introduction									2

- Programme Offered(Post Graduation) 					2

- Eligibility Criteria for Admission						2

- Award of M.Tech Degree							3

- Duration of the Programme							3

- Semester-wise distribution of credits						3

- Distribution and Weightage of Marks						3

- Attendance Regulations & Condonation					5

- Minimum Academic Requirements						6

- Course Pattern								6

- Award of Grade								7

- Minimum Instruction days							8

- General									8

- Transitory Regulations							8

- Course Code and Course Numbering  Scheme				9

- Medium of Instruction								10

- Amendments to Regulations							10

- Grade Card									10

- Conduct and Discipline							10

- Malpractices									12

- Award of Rank								12

- Course structure								14

- Syllabus									16 - 47

- INTRODUCTION

Academic Programmes of the institute are governed by rules and regulations as approved by the Academic Council, which is the highest Academic body of the Institute.

These academic rules and regulations are applicable to the students admitted during academic year 2010-11 into first year of two year Postgraduate programme offered by the college leading to Master of Technology (M.Tech) degree.

  - Lakireddy Balireddy College of Engineering, Mylavaram, an autonomous institution, follows Semester pattern for all two years of its Postgraduate M.Tech programme with internal and external evaluation.

  - Semester Pattern : Each academic year shall be divided into two semesters, each of 20 weeks duration, including instruction, evaluation, etc. Each semester consists of a minimum of 90 instruction days with at least 35 to 40 contact periods per week.

- PROGRAMME OFFERED (POST  GRADUATE)

Master of Technology (M.Tech.)

- ELIGIBILITY CRITERIA FOR ADMISSION

The eligibility criteria for admission into First  year M.Tech  programme shall be as mentioned below:

- Admissions to the above program shall be made subject to the eligibility, qualifications and specialization prescribed by the AICTE from time to time.

- Admissions shall be made on the basis of merit rank obtained by the qualifying candidate at GATE examination or an entrance test conducted by the university subject to reservations prescribed by the University/State government from time to time.

- AWARD OF  M.Tech  DEGREE

A student will be declared eligible for the award of the M.Tech Degree if he/she fulfills the following academic regulations:

- Pursued a course of study for not less than two academic years and not more than four academic years.

- The student has to fulfill all the academic requirements i.e. Registered for 88 credits and has to secure all the 88 credits with minimum grade points.

5. DURATION OF THE PROGRAMME

Students, who fail to fulfill all the academic requirements for the award of the            degree within  four  academic years from the year of their admission, shall forfeit their seat in M.Tech course.

6. SEMESTER –WISE DISTRIBUTION OF CREDITS:

| Year | First Semester Credits | Second Semester Credits | Total Credits |
| --- | --- | --- | --- |
| First Year | 30(28+ Mini Project @ 2 Credits) | 30(28+ Term Paper @ 2 Credits) | 60 |
| Second Year | Dissertation Work – 20 Technical seminar-8 | 28 |
| TOTAL | 88 |

Table .1  Semester wise Credits Distribution

7. 	DISTRIBUTION AND WEIGHTAGE OF MARKS:

- In I-Semester and II- Semesters, the course of study consists of 6 theory subjects + 2 laboratories or  6 theory subjects + 1 Laboratory. However, the final year  will be on dissertation work and Technical seminar only.

- The performance of a student in each semester shall be evaluated subject wise with a maximum of 100 marks for theory and 100 marks for Laboratory Courses. In addition, Mini project, Technical  seminar,  and dissertation work shall be evaluated for 50, 50  and 200 marks respectively.

- For theory subjects the distribution shall be 40 marks (35 for Test and 5 for attendance) for Internal Examinations and 60 marks for the End Semester Examination.

- For theory subjects, during the semester there shall be two internal mid term examinations, for duration of 90 minutes. First internal mid term examination to be conducted in first and second units and the second internal mid term examination to be conducted in third, fourth and fifth units of each  subject.  However,75% weightage for the best and 25% for the other internal mid term examination shall be considered   for awarding internal  marks.

- The internal mid term examination question paper should be for 35 marks. Out of five questions given, student has to answer any three questions.

- For Laboratory courses, there shall be a continuous evaluation during the semester for 40 sessional marks and 60 end semester examination marks. Of the 40 marks for internal, 15 marks shall be awarded for day-to-day work and 15 marks to be awarded by conducting Internal laboratory test and 5 marks for record work and 5 marks for attendance. The end semester examination shall be conducted by an external examiner and the  concerned internal examiner.

- Mini project shall be submitted in report form and should be presented before the committee, which shall be evaluated for 50 marks. The committee consists of the Head of the department, the Supervisor of mini project and a senior faculty member of the department. There shall be no internal marks for mini project. The student has to secure minimum 50% marks to be declared successful.

- There shall be Technical seminar in second year. For the seminar, the student shall collect the information on a specialized topic and prepare a technical report, showing his understanding over the topic, and submit to the department, which shall be evaluated by the Department committee consisting of Head of the department, Seminar supervisor and a senior faculty member. The seminar shall be evaluated for 50 marks based on his/her presentation and the submitted report. There shall be no external examination for seminar. The student has to secure minimum 50% marks to be declared successful.

- Dissertation Work:

      - A Departmental Dissertation Review Committee (DDRC) shall be constituted with the Head of the Department as the chairman and  two  senior  faculty  as  members  to  supervise  the proceedings  of  the  dissertation  work  from the time of  allotment  to submission.

      - Registration  of  Project  work:

A  student  is  permitted  to  register  for  the  project work after satisfying the attendance requirement of all  the courses  (theory and practical courses) up to Second Semester. A candidate has to submit, in consultation with his/her  dissertation supervisor, the title, objectives and plan of action of his/her dissertation work to the DDRC for its approval. Only after obtaining the approval of DDRC, the student can initiate the dissertation work.

      - The duration of the dissertation is for two semesters (Second Year).

      - Four copies of the dissertation report, certified by the supervisor shall be submitted to the Institute.

      - Out of a total 200 marks for the dissertation work, 50 marks shall be for Internal Evaluation and 150 marks for the End Semester Examination. The End Semester Examination (viva-voce or defence) shall be conducted by the committee consisting of an External Examiner, Head of the Department and the dissertation supervisor. External examiner will be selected by the Principal/Director out of three member panel submitted by the Head of the Department,  who are eminent in that field of study. For maximum of 18 students, one dissertation evaluation committee has to be formed.

      - If the work is not satisfactory, and if the student is failed to secure the minimum (50% of total marks),  the student shall revise and resubmit the dissertation report before three months.  If he/she fails to get a satisfactory report again, the dissertation shall be summarily rejected.

      - The topics for mini project and dissertation work shall be different from each other. The evaluation of dissertation work shall be conducted at the end of the Second year.

      - The student has to clear all the subjects of M.Tech course to attend the Viva Voce or Defence of his / her Dissertation Work.

      - The dissertation internal evaluation shall be on the basis of  continuous review by the DDRC on the progress of the dissertation work.

8. 	ATTENDANCE REGULATIONS & CONDONATION:

- A student shall be eligible to appear for end semester examinations, if acquired a minimum   of 75% of attendance in aggregate of all the subjects.

- Condonation of shortage of attendance in aggregate up to 10% on medical grounds (65% and above and below 75%) in each semester may be granted by the College Academic Committee(CAC). However, the subject of granting is purely at the discretion of the College Academic Committee or Competent Authority.

- A Student will not be promoted to the next semester unless he/she satisfies the attendance requirement of the present semester as applicable. They may seek re-admission for that semester as and when offered next.

- Due weightage in each of the subjects shall be given to the attendance. Marks not exceeding 5 shall be given to all such candidates who satisfy  the following criteria

Table .2  Marks weightage for Attendance

| Percentage of attendance | Marks |
| --- | --- |
| >= 90 | 5 |
| 85 to < 90 | 4 |
| 80 to < 85 | 3 |
| >75 to < 80 | 2 |
| =75 | 1 |

- Shortage of Attendance below 65% in aggregate shall in no case be condoned.

- Students whose shortage of attendance is not condoned in any semester are not eligible to take their end Semester examinations of that particular semester and their registration for examination shall stand cancelled.

- A stipulated fee shall be payable towards condonation of shortage of attendance.

- Attendance may also be condoned for those who participate in prestigious sports, co- and extra-curricular activities provided their attendance is in the minimum prescribed range for the purpose and recommended by the concerned authority.

9. 	MINIMUM ACADEMIC REQUIREMENTS:

The following academic requirements have to be satisfied in addition to the attendance requirements mentioned in Item No.8.

- A student shall be deemed to have secured the minimum academic requirement in a subject if he/she secures a minimum of 40% of marks exclusively in the end semester examination and a minimum aggregate of 50% of the total marks in the end semester examination and internal evaluation taken together.

- A student will be promoted to second year, if he/she secures the minimum attendance requirement.

- Students who fail to earn 88 credits as indicated in the course within   
 	four academic years from the year of their admission shall forfeit their 
 	seat in M.Tech course and their admission shall stand cancelled.

- COURSE PATTERN:

The entire course of study is of two academic years. Each academic year shall have two semesters.

- A Student eligible to appear for the end examination in a subject, but absent at it or has failed in the end examination may appear for that subject only as and when it is conducted.

- All admitted students are to study 4 electives during their course of two year study at the institute. The following shall be the programme of study of electives.

| Year | Semester | No. of electives |
| --- | --- | --- |
| 1 | 1 | 2 |
| 1 | 2 | 2 |

- Final year (Two semesters) is completely reserved for Dissertation work and Technical seminar.

- When a student is detained due to shortage of attendance/any other reason, he may be re-admitted when the semester is offered after fulfillment of academic regulations. Whereas, the academic regulations hold good with the regulations he/she first admitted.

11. 	AWARD OF GRADE:

After a student has satisfied the requirement prescribed for the completion of the programme and is eligible for the award of M.TECH Degree he/she shall be placed in one of the following four grades. The award of the degree is on a grade point of scale 4. The grade points are awarded as follows:

| CGPA | Division of Pass |
| --- | --- |
| >=3.0 | First Class With Distinction |
| >=2.0 and <3.0 | First division |
| >= 1.6 and <2.0 | Pass division |
| < 1.6 | Fail |

Based on the performance of the candidate, The following shall be the criteria for the award of letter grades at the end of each semester in the subjects in which the candidate appeared for the examination

| Marks Scored | Grades | Grade Points |
| --- | --- | --- |
| >=90 | S | 4.00 |
| >=85 to<90 | A+ | 3.67 |
| >=80 and <85 | A | 3.33 |
| >=75 and <80 | B+ | 3.00 |
| >=70 and <75 | B | 2.67 |
| >=65 and <70 | C+ | 2.33 |
| >=60 and <65 | C | 2.00 |
| >=55 and <60 | D | 1.67 |
| >=50 and <55 | E | 1.33 |
| <50 | F | 0 |

Table .3.  Marks,Grades and Grade Points

11.1	Calculation of Semester Grade Points Average (SGPA)

The performance of each student at the end of the each semester is indicated in terms of GPA. The *SGPA is calculated as below:

Where CR= Credits of a course

GP = Grade points awarded for a course

* SGPA (Semester Grade Point Average) is calculated for the candidates

who passed all the courses in that semester.

11.2	Calculation of Cumulative Grade Point Average (CGPA) for Entire Programme.

The CGPA is calculated as below:

(for entire programme)

Where CR= Credits of a course

GP = Grade points awarded for a course

12. 	MINIMUM INSTRUCTION DAYS:

The minimum instruction for each semester shall be 90 instruction days excluding examination days.

13.	GENERAL:

  - Where the words ‘’he’’ ‘’him’’ ‘’his’’, occur in the regulations, they include ‘’she’’, ’’her’’, ’’hers’’.

  - The academic regulations should be read as a whole for the purpose of any interpretation.

  - In the case of any doubt or ambiguity in the interpretation of the above rules, the decision of the Director is final.

  - The Institute may change or amend the academic regulations or syllabi at any time and the changes or amendments made shall be applicable to all the students with effect from the dates notified.

14. 	TRANSITORY REGULATIONS

14.1 A candidate, who is detained or discontinued in the year/semester, on readmission shall be required to do all the courses in the curriculum prescribed for such batch of students in which the student joins subsequently. However, exemption will be given to those candidates who have already passed in such courses, which he/she had passed in the earlier semester(s) he/she was originally admitted into.

14.2	 A student who is following the JNTU, Kakinada curriculum, detained due to lack of academics/attendance at the end of a semester of an academic year, shall join with the autonomous batch at the appropriate semester. Such candidates shall be required to pass in all the courses in the programme prescribed by concerned BOS for such batch of students, to be eligible for the award of degree. However, exemption will be given to all those courses of the semester(s) of the batch, which the candidate joins now, which he/she had passed earlier. The student has to clear all his backlog subjects by appearing the supplementary examinations, conducted by JNTU, Kakinada and Autonomous stream for the award of Degree. The marks secured by the students in JNTUK-Kakinada  pattern will be converted in to appropriate grade points as per the autonomous grading system and the class will be awarded based on the academic performance of a student in the entire 2 years as per the guidelines of autonomous Pattern.

14.3 The concerned Board of Studies shall give the guidelines regarding ‘Course

Equivalence’ and ‘Course Exemptions’ from time to time.

15.	COURSE CODE AND COURSE NUMBERING SCHEME:

Course Numbers are denoted by 5 digit unique alpha numeric characters. First two digits are ‘MT’, that describes the Course name i.e. Master of Technology.

Third digit represents semester of offering as mentioned in Table No. 4.

| THIRD DIGIT | DESCRIPTION |
| --- | --- |
| 1 | First Semester |
| 2 | Second Semester |
| 3 | Third Semester |
| 4 | Fourth Semester |

Table 4:  Third digit description

Fourth digit represents course type, as per Table No. 5

| FOURTH DIGIT | DESCRIPTION |
| --- | --- |
| 0 | Theory course |
| 5 | Lab course/other than theory subject |

Table 5 :  Course type  description

Fifth digit represents course number as described in Figure 1 below. However, different courses are given distinct codes.

For example, MT105 course, the course is offered in the first semester (1), the course is of theory type (0) and the course number in that semester (5).

| M | T | 1 | 0 | 5 |
| --- | --- | --- | --- | --- |

Figure 1: Course code description for courses

16.	MEDIUM OF INSTRUCTION

The medium of instruction and examination is English.

17.	SYLLABUS (Enclosed at the end of this document)

18.	AMENDMENTS TO REGULATIONS

The Academic council from time to time may revise, amend, or change the regulations, schemes of examinations, and/or syllabi.

19.	GRADE CARD

The grade card issued shall contain the following:

a) The credits for each course offered for that semester

b) The letter grade obtained in each course

c) The SGPA/CGPA

d) Total number of credits earned by the student up to the end of                                   
     that semester

20. CONDUCT AND DISCIPLINE

- Students shall conduct themselves within and outside the premises of the Institute in a manner befitting the students of our Institution.

- As per the order of Honorable Supreme Court of India, ragging in any form is considered as a criminal offence and is banned.  Any form of ragging will be severely dealt with.

- The following acts of omission and/or commission shall constitute gross violation of the code of conduct and are liable to invoke disciplinary measures with regard to ragging.

  - Lack of courtesy and decorum; indecent behavior anywhere within or outside the campus.

  - Willful damage or distribution of alcoholic drinks or any kind of narcotics to the fellow students/citizens.

- Possession, consumption or distribution of alcoholic drinks or any kind of narcotics or hallucinogenic drugs.

- Mutilation or unauthorized possession of library books.

- Noisy and unseemly behavior, disturbing studies of fellow students.

- Hacking in computer systems such as entering into other person’s areas without prior permission, manipulation and/or damage of computer hardware and software or any other cyber crime etc.

- Usage of camera cell phones in the campus.

- Plagiarism of any nature.

- Any other act of gross indiscipline as decided by the academic council from time to time.

- Commensurate with the gravity of offense, the punishment may be reprimand, fine, expulsion from the institute / hostel, debarment from an examination, disallowing the use of certain facilities of the Institute, rustication for a specified period or even outright expulsion from the Institute, or even handing over the case to appropriate law enforcement authorities or the judiciary, as required by the circumstances.

- For an offence committed in (i) a hostel (ii) a department or in a class room and (iii) elsewhere, the chief Warden, the Head of the Department and the principal respectively, shall have the authority to reprimand or impose fine.

- Cases of adoption of unfair means and/or any malpractice in an examination shall be reported to the principal for taking appropriate action.

- All cases of serious offence, possibly requiring punishment other than reprimand, shall be reported to the Academic council.

- The Institute Level Standing Disciplinary Action Committee constituted by the academic council, shall be the authority to investigate the details of the offence, and recommend disciplinary action based on the nature and extent of the offence committed.

- The Principal shall deal with any academic problem, which is not covered under these rules and regulations, in consultation with the Programmes Committee in an appropriate manner, and subsequently such actions shall be placed before the academic council for ratification. Any emergency modification of regulation, approved by the academic council earlier, shall be reported to the academic council for ratification.

- “Grievance and Redressal Committee” (General) constituted by the principal shall deal with all grievances pertaining to the academic/administrative /disciplinary matters.

- All the students must abide by the code and conduct rules of the college.

21.   MALPRACTICES

- The Principal shall refer the cases of malpractices in internal assessment tests and Semester-End Examinations, to a Malpractice Enquiry Committee, constituted by him/her for the purpose. Such committee shall follow the approved scales of punishment. The Principal shall take necessary action, against the erring students based on the recommendations of the committee.

- Any action on the part of candidate at an examination trying to get undue advantage in the performance at examinations or trying to help another, or derive the same through unfair means is punishable according to the provisions contained hereunder. The involvement of the Staff, who are in charge of conducting examinations, valuing examination papers and preparing/keeping records of documents relating to the examinations in such acts (inclusive of providing incorrect or misleading information) that infringe upon the course of natural justice to one and all concerned at the examination shall be viewed seriously and recommended for award of appropriate punishment after thorough enquiry.

22.  AWARD OF RANK

The rank shall be awarded based on the following:

  - Only such candidates who pass the Final year examination at the 
 	end of the third academic year after admission as regular final year 
 	students along with the others in their batch and become eligible for 
 	the award of the Degree shall be eligible for the award of rank. 
 	Candidates, who loose one or more years of study for any reason 
 	whatsoever are not eligible for the award of rank.

  - Ranks shall be awarded in each branch of study for the top five 
 	students appearing for the Regular external Examinations.

  - Award of prizes, scholarships, or any other Honors shall be based on 
 	the rank secured by a candidate, consistent with the desire of the 
 	Donor, wherever applicable.

M.TECH(ME – THERMAL ENGINEERING) - COURSE STRUCTURE

(Applicable for the batches admitted from 2010-11)

I-SEMESTER

| Code No. | Name of the Course | Scheme of Instruction | Scheme of Examination | Total | credits |
| --- | --- | --- | --- | --- | --- |
|  |  | Periods per Week | Maximum Marks |  |  |
|  |  | Lectures | Tutorial | Lab | Internal | External |  |  |
| MME101 | Advanced Mathematics | 4 | -- | -- | 40 | 60 | 100 | 4 |
| MME102 | Advanced Thermodynamics | 4 | -- | -- | 40 | 60 | 100 | 5 |
| MME103 | Advanced Heat & Mass Transfer | 4 | -- | -- | 40 | 60 | 100 | 5 |
| MME104 | IC Engine Combustion & Pollution | 4 | -- | -- | 40 | 60 | 100 | 4 |
| MME1051 MME1052 MME1053 | ELECTIVE – I Gas Dynamics Energy Conservation and Management Environmental Engineering & Pollution Control | 4 | -- | -- | 40 | 60 | 100 | 4 |
| MME1061 MME1062 MME1063 | ELECTIVE – II Solar Energy Turbo Machines Finite Element Method | 4 | -- | -- | 40 | 60 | 100 | 4 |
| MME151 | Thermal Engineering – I Laboratory | -- | -- | 3 | 40 | 60 | 100 | 2 |
| MME152 | Mini Project | -- | -- | 3 | 50 | -- | 50 | 2 |
| TOTAL | 24 | -- | 6 | 330 | 420 | 750 | 30 |

II-SEMESTER

| Code No. | Name of the Course | Scheme of Instruction | Scheme of Examination | Total | credits |
| --- | --- | --- | --- | --- | --- |
|  |  | Periods per Week | Maximum Marks |  |  |
|  |  | Lecture | Tutorial | Lab. | Internal | External |  |  |
| MME201 | Instrumentation, Measurements & Experiments in Fluids | 04 | -- | -- | 40 | 60 | 100 | 4 |
| MME202 | Non-conventional Sources of Energy | 04 | -- | -- | 40 | 60 | 100 | 4 |
| MME203 | Refrigeration & Air Conditioning | 04 | -- | -- | 40 | 60 | 100 | 5 |
| MME204 | Design of Heat Transfer Equipment | 04 | -- | -- | 40 | 60 | 100 | 5 |
| MME2051 MME2052 MME2053 | ELECTIVE – III Thermal And Nuclear Power Plants Computational Fluid Dynamics Convective Heat & Mass Transfer | 04 | -- | -- | 40 | 60 | 100 | 4 |
| MME2061 MME2062 MME2063 | ELECTIVE – IV Jet Propulsion And Rocketry Cryogenic Engineering Advanced Optimization Techniques | 04 | -- | -- | 40 | 60 | 100 | 4 |
| MME251 | Thermal Engineering – II Lab. | -- | -- | 3 | 40 | 60 | 100 | 2 |
| MME252 | Term Paper | -- | -- | 3 | 50 | -- | 50 | 2 |
| TOTAL | 24 | -- | 6 | 330 | 420 | 750 | 30 |

III SEMESTER

| Code No. | Name of the Course | Scheme of Instruction | Scheme of Examination | Total | credits |
| --- | --- | --- | --- | --- | --- |
|  |  | Periods per Week | Maximum Marks |  |  |
|  |  | Lecture | Tutorial | Lab. | Internal | External |  |  |
| MME351 | Technical Seminar | -- | -- | 6 | 50 |  | 50 | 8 |

IV SEMESTER

| Code No. | Name of the Course | Scheme of Instruction | Scheme of Examination | Total | credits |
| --- | --- | --- | --- | --- | --- |
|  |  | Periods per Week | Maximum Marks |  |  |
|  |  | Lecture | Tutorial | Lab. | Internal | External |  |  |
| MME451 | Dissertation | -- | -- | 15 | 50 | 150 | 200 | 20 |

| TOTAL CREDITS : 88 |
| --- |
| I Semester : 30 II Semester : 30 | III Semester : 08 IV Semester : 20 |

MME101:  ADVANCED MATHEMATICS

Lecture	: 4 Periods/week                   		Internal Marks	          : 40

External Marks                  : 60

Credits	:  4         				 External Examination       : 3 Hrs

---------------------------------------------------------------------------------------------------------------

UNIT - I

Solution of Simultaneous Linear Algebraic Equations: Introduction, Engineering Applications, Vector and Matrix Norms, Basic Concepts of Solution, Linearly Independent Equations, Ill-Conditioned Equations. Graphical Interpretation of the Solution, Solution Using Cramer's Rule, Gauss Elimination Method, Gauss-Jordan Elimination Procedure, LU Decomposition Method, Jacobi Iteration Method, Gauss-Seidel Iteration Method, Simultaneous Linear Equations, Matrix Inversion, Homogeneous Equations. Comparative Efficiencies of Various Methods and Recommendations, Choice of the Method.

UNIT - II

Solution of Matrix Eigen value Problem: Introduction, Engineering Applications, Conversion of General Eigen value Problem to Standard Form, Methods of Solving Eigen value Problems, Solution of the Characteristic Polynomial Equations,

Numerical Differentiation: Introduction, Engineering Applications, Definition of the Derivative, Basic Finite-Difference Approximations, Difference Operators, Approximation of Derivatives Using Difference Operators, Using Differentiation of Interpolating Polynomials.

UNIT - III

Numerical Integration: Introduction, Engineering Applications, Simpson's Rule, Richardson's Extrapolation, Romberg Integration, Gauss Quadrature, Numerical Integration of Improper Integrals.

Ordinary Differential Equations: Initial-Value Problems: Introduction, Engineering Applications, Solution Concept, Euler's Method, Improvements and Modifications of Euler's Method, Runge-Kutta Methods.

UNIT - IV

Ordinary Differential Equations and Boundary-Value Problems: Introduction, Engineering Applications, Finite-Difference Methods, Solution of Nonlinear Boundary-Value Problems, Solution of Eigen value Problems.

UNIT – V

Partial Differential Equations: Introduction, Engineering Applications, Initial and Boundary Conditions, Solution of Partial Differential Equations by using Numerical Methods

ReferenceS

1.    	Applied Numerical Methods - Singeresu S. Rao. 
 	Pearson Education Inc.,2001.

2.    	Numerical methods for scientific and engineering computation -M.K. Jain, S.R.K. Iyengar and R.K. Jain  New age international publication 5th ed., 2007.

3.  	Numerical Analysis - Francis Scheid 2nd ed., Schaum`s Series.

4.  	Advanced Mathematics for Engineers & Scientists by M.R.Spiegel. Schaum`s Series. Mcgraw Hill publishers, New Delhi, 2010.

MME102:  ADVANCED THERMODYNAMICS

Lecture	: 4 Periods/week                   		Internal Marks	          : 40

External Marks                   : 60

Credits	:  5         				 External Examination         : 3 Hrs

---------------------------------------------------------------------------------------------------------------

UNIT - I

Basic Concepts: Thermodynamics - Temperature and Zeroth law of thermodynamics - first law of thermodynamics - limitations of first law - concept of internal energy - second law of thermodynamics - concept of entropy-Third law of Thermodynamics.

Thermodynamic Relations : Introduction – Reciprocity and cyclic relations – The Maxwell’s relations – The Gibbs and Helmholtz relations  - The Clapeyron Equation – General relations for du, dh, ds - co-efficient of volumetric expansion - isothermal compressibility.

UNIT - II

Exergy : Introduction - availability of heat - availability  of a closed system - availability function  of  the closed  system  - availability of steady flow system - availability function of open system.

Irreversibility: Introduction - irreversibility for closed and open system - steady flow process - effectiveness

UNIT - III

Non Reactive Gas Mixtures : Introduction -  basic definitions for gas mixtures - PVT relationship for mixtures of ideal gases - properties of mixtures of ideal gases - entropy change due to mixing - mixtures of perfect gases at different initial pressure and temperatures.

Reactive Gas Mixtures: Introduction- fuels and combustion, theoretical and actual combustion processes, enthalpy of formation and enthalpy of reaction, first and second law analysis of reacting systems.

UNIT – IV

Thermodynamics of Compressible Flow: Introduction- stagnation properties, speed of sound and mach number, 1 – D isentropic flow and property relations for isentropic flow for perfect gases.

Kinetic Theory of an Ideal Gas: Introduction- equation of state of an ideal gas, collision frequency and mean free path, velocity and speed distribution function.

UNIT – V

Thermodynamic cycles: Vapor power cycles:- second law analysis of vapor power cycles, cogeneration, binary vapor cycles, combined gas vapor power cycles.

Gas power cycles:- ideal jet propulsion cycles- second law analysis of gas power cycles.

REFERENCES

1.	Fundamentals of Thermodynamics:  Sonnatag, Borgnakke, Van Wyllan , TMH

2.	Thermodynamics (An Engineering Approach) :-  Yunus  Cengel & Boles, TMH

3.	Fundamentals of Thermodynamics: E .Rathakrishnan.,PHI Publishers.

4.	Engineering Thermodynamics: P.K.Nag, TMH

5.	Thermodynamics : Holman , TMH

MME103:  ADVANCED HEAT AND MASS TRANSFER

Lecture	: 4 Periods/week                   		Internal Marks	          : 40

External Marks                  : 60

Credits	:  5         				 External Examination        : 3 Hrs

---------------------------------------------------------------------------------------------------------------

UNIT - I

Introduction: Brief Introduction to different Modes of heat transfer- Conduction- General heat conduction equation – Boundary conditions – Steady simplified heat transfer in Cartesian coordinates – Finned surfaces-

1-D Heat transfer with internal heat generation.

UNIT – II

Transient heat conduction: Lumped system analysis – Heisler charts – Semi infinite solid – Product solution- 2D – steady state heat conduction – Use of conduction shape factors- - Transient heat conduction – Analytical solution- Finite Difference methods for Heat Conduction Problems- 1 D & 2 D steady state and Unsteady  heat conduction  – Implicit and Explicit methods.

UNIT – III

Forced Convection: Concept of boundary layer- Hydrodynamic and Thermal boundary layer concepts-Equations of Motion and Energy-Methods to determine heat transfer coefficient- Dimensional Analysis –Importance  of Non – Dimensional numbers –Analogies between Heat and Momentum Transfer-External flows and integral methods for flow over a flat plate-Application of empirical relations to various geometrics.

Free convection: Dimensionless parameters of Free convection-An Approximate Analysis of Laminar Free Convection on a Vertical Plate-Free convection on a Horizontal Plate, Cylinder and Sphere- Combined free and forced convection.

UNIT – IV

Boiling and condensation: Boiling curve – Correlations – Nusselt’s theory of film condensation on a vertical plate – Assumptions & correlations of film condensation for different geometrics.

Radiation: Concept of View factor- Methods of  Determining View factors-Radiant heat exchange in Grey, Non- Grey bodies with Transmitting, Reflecting and Absorbing media-Specular surface, gas radiation –Radiation from flames.

UNIT – V

Mass Transfer: Introduction- Analogy between heat and mass transfer-Mass diffusion- Fick’s law of diffusion-Boundary conditions-Steady mass diffusion through a wall-Mass convection-Analogy between friction, heat transfer and mass transfer coefficients-Significance of Non – Dimensional numbers.

REFERENCES

1. 	Heat Transfer – Necati Ozisik  ,TMH

2. 	Heat Transfer a basic approach – Yunus Cengel (MH)

3. 	Heat Transfer –  Holman ,TMH

4. 	Heat Transfer by  P.S. Ghoshdastidar (Oxford Press)

5. 	Heat & Mass Transfer P. K Nag(TMH)

6. 	Principle of Heat & Mass Transfer – Frank Kreith & Mark. Bohn

MME104:  IC ENGINE COMBUSTION & POLLUTION

Lecture	: 4 Periods/week                   		Internal Marks	          : 40

External Marks                  : 60

Credits	:  4         				 External Examination       : 3 Hrs

---------------------------------------------------------------------------------------------------------------

UNIT - I

Engine Types and Their Operation:

Introduction and Historical perspective – Engine classifications - Engine components - Two stroke and four stroke engines – S.I. Engine operation – C.I. Engine operation – Stratified charge engine – working - Rotary Engine –working  - Relative merits and demerits - Engine design and operating parameters.

UNIT - II

Combustion in Spark – Ignition Engines :

Introduction – Stages of combustion in SI Engine - Flame front propagation– Factors influencing flame speed - Rate of pressure rise – Analysis of cylinder pressure data – Heat release analysis - Cyclic variations in combustion, partial burning and misfire – Abnormal combustion and knocking – Effects of detonation - Effect of engine variables on detonation – SI Engine combustion chamber design principles – Types of combustion chambers.

UNIT – III

Combustion in Compression – Ignition Engines :

Introduction – Stages of combustion in CI Engine – Ignition delay – Factors effecting ignition delay – Knocking in CI Engine – Factors affecting knowing - Types of Diesel Combustion systems – Direct injection systems - Indirect injection systems, comparison of combustion Systems - Combustion in direct injection multi spray – Analysis of cylinder pressure data - Heat release analysis.

UNIT –IV

Engine Performance and Testing:

Introduction - Parameters of performance – Engine performance characteristics – variables affecting performance characteristics - Pressure- Volume measurement and combustion Analysis- Performance test – heat balance test problems

Alternate Fuels: Necessity of Alternative fuels – Biodiesels-Transesterification process – Use of Alcohols –  Gaseous fuels -CNG – LPG – Hydrogen and Biogas. Dual fuel operation.

UNIT – V

Pollutant Formation and Control:

Nature and extent of problem-Pollution Norms- Types of pollutants-Nitrogen Oxides – Carbon Monoxide – Unburned Hydrocarbons  – Particulate Emissions – Measurement of Emissions – Oxides of Nitrogen, carbon monoxide, Unburned Hydrocarbons and smoke – Exhaust gas treatment – Catalytic converters – Thermal reactors – Particulate traps.

REFERENCES

1.	“Internal Combustion Engine Fundamentals” John. B.Heywood, Mc Graw Hill

2.	“Internal Combustion Engine and Air Pollution” Obert E.F, Harper and Row Publishers

3.    	“Internal Combustion Engines” V.Ganesan, Tata Mc Graw hill.

4.     	“Internal Combustion Engines” Maleeve V.L, Mc Graw Hill Book Company

5     	“Internal Combustion Engines” Mathur & Sharma, Dhanpatrai Publishers.

6    	“Internal Combustion Engines”, Colin R.Ferguson, Allan T.Kirkpatrick, Wiley publishers

MME1051:  GAS DYNAMICS

Lecture	: 4 Periods/week                   		Internal Marks	          : 40

External Marks                  : 60

Credits	:  4         				 External Examination       : 3 Hrs

---------------------------------------------------------------------------------------------------------------

UNIT - I

Basics of Compressible Flow: Introduction, Properties of fluids, Thermodynamic Properties, Thermodynamics of fluid flow, Laws of thermodynamics, Perfect gas, Compressibility, Basic Equations of compressible flow-   Energy equation, Isentropic flow relations, Stagnation Properties, Speed of sound, Mach Number, Mach angle, Mach cone, Mach  wave, Shock wave, Wave propagation

UNIT - II

Steady One-dimensional Flow: Introduction, Fundamental Equations, Discharge from a reservoir, Critical values, Stream tube area-velocity relation, Types of nozzles, Applications of nozzles, Area Mach number relation, Isentropic flow through nozzles, Diffusers, Dynamics head measurement in compressible flow, Compressibility correction to dynamics pressure, Pressure coefficient

UNIT - III

Normal Shock Waves: Introduction, Types of waves, Normal shock-equations of motion, The normal shock relations for perfect gas, Change of stagnation or total pressure across the shock, Hugoniot equation

UNIT – IV

Oblique Shock and Expansion Waves:  Introduction, Oblique shock- relations, Relation between β-θ-M, Shock Polar, Supersonic Flow over a Wedge, Weak Oblique Shocks, Detached Shocks, Expansion waves, Flow with shocks and expansion waves at the exit of a convergent- divergent nozzle

UNIT- V

Flow with Friction and Heat Transfer: Introduction, Flow in constant Area Duct with friction, Adiabatic Constant area flow of a perfect gas, Fanno line Flow, Flow with heating and cooling in  ducts, Rayleigh line relation.

REFERENCES

1.		Gas Dynamics, E. Rathakrishnan, Second Edition Prentice Hall of  
 	India pvt. Ltd, New Delhi

2. 	The dynamics and thermodynamics of compressible fluid flow Vol I  by Ascher H. Shapiro, The Ronald press Co. New York, 1953

3.    	Elements of Gas Dynamics, H.W. Lipmann and A. Roshko

4.   	Compressible Fluid Dynamics, Thomson P.A ,McGraw-Hill, New York, 1972

MME1052:  ENERGY CONSERVATION AND MANAGEMENT

Lecture	: 4 Periods/week                   		Internal Marks	          : 40

External Marks                   : 60

Credits	:  4         				 External Examination         : 3 Hrs

---------------------------------------------------------------------------------------------------------------

UNIT - I

General energy problem, Energy uses patterns and scope of conversion.

Energy Management Principle:   Need, Organizing and managing an energy management program.

Energy Auditing: Elements and concepts, Type of energy audits instruments used in energy auditing.

UNIT – II

Economic Analysis: Cash flows, Time value of money, Formulae relating present and future cash flows- single amount, uniform series.

Financial appraisal methods: Pay back periods, net present value, benefit cost ratio, internal rate of return and Life cycle cost / benefits.

UNIT – III

Thermodynamics of energy conservation: Energy conservation in Boilers and furnace, Energy conservation in stream and condensate system.

Cogeneration: Concepts, Type of cogeneration system, performance evaluation of a cogeneration system.

UNIT – V

Waste Heat Recovery: Potential, benefit, waste heat recovery equipments. Space Heating, Ventilation Air Conditioning (HVAC) and water heating of building, Transfer of heat, space heating methods, Ventilation and air conditioning, Heat pumps, Insulation, Cooling load, Electric water heating systems, Electric energy conversation methods.

UNIT – V

Energy conservation in Electric Utility and Industry:   Energy cost and two -part tariff, Energy conservation in utility by improving load factor, Load curve analysis, Energy efficient motors, Energy conservation in illuminating system, Importance of power factor in energy conservation - Power factor improvement methods, Energy conservation in industries.

References

1. 	Electrical Energy Utilization and Conservation - S.C. Tripathy, Tata 
 	McGraw-Hill, 1991.

2. 	Energy management handbook - Wayne C. Turner, CRC Press  
 	Publications, 2004.

3.     	Industrial Energy Conversation - D.A. Reay, Pergamon Press

4.     	Industrial energy conservation Manuals: MIT Press.

MME1053:  ENVIRONMENTAL ENGINEERING & POLLUTION CONTROL

Lecture	: 4 Periods/week                   		Internal Marks	          : 40

External Marks                  : 60

Credits	:  4         				 External Examination       : 3 Hrs

---------------------------------------------------------------------------------------------------------------

UNIT - I

Environment: Environmental segments, The Natural cycles of environment: The Hydrological cycle, The Oxygen cycle, The Nitrogen cycle, The Phosphate cycle, The Sulphur cycle, Atmospheric structure.

UNIT – II

Introduction to Pollution: Green house effect, Ozone hole, Pollution of air, water, and soil; Effect of pollution on living systems, Minimum national standards.

Air Pollution: Sources and classification of pollutants, Effect of air pollution, Pollution from industries, Chemical reactions in a contaminated atmosphere, urban air pollution, Acid rain, Photo chemical smog, Meteorological aspects of air pollution.

UNIT - III

Air Pollution Sampling and Measurement: Collection of gaseous air pollutants, Collection of particulate pollutants, Analysis of air pollutants, Sulphur-dioxide, Nitrogen oxides, Carbon monoxide, Oxidants and Ozone, Hydro carbons and Particulate matter.

Air Pollution Control Methods and Equipment: Control methods, Source correction method, Cleaning of gaseous effluents, Particulate emission control, Control of specific gaseous pollutants SO2, NOx, Hydro carbons, CO.

UNIT - IV

Water Pollution and Control: Origin of waste water, Types of water pollutants and their effects, Water pollution laws and standards Waste water sampling and analysis , Treatment of waste water.

Solid Waste Management: Sources and classification, Public health aspects, methods of collection, Disposal methods, Potential methods of disposal.

UNIT - V

Noise Pollution: Human acoustics, Sound and its general features, Noise and its measurement, Noise pollution hazards & Controlling methods.

REFERENCES

1. 	“Environmental pollution control engineering” C.S.Rao/New age International Pvt.Ltd

2. 	“Air pollution” M.N.Rao and M.V.N.Rao /Tata Mc Graw Hill

3. 	“Pollution control in process industries ” S.P. Mahajan/ Tata Mc Graw Hill

4. 	“Energy Technology” S.Rao and B.B.Parulekar /Khanna publishers

MME1061:  SOLAR ENERGY

Lecture	: 4 Periods/week                   		Internal Marks	          : 40

External Marks                  : 60

Credits	:  4         				 External Examination       : 3 Hrs

---------------------------------------------------------------------------------------------------------------

UNIT – I

Introduction: Solar energy option, specialty and potential – Sun - earth – Solar radiation , beam and diffuse – measurement – estimation of average solar radiation on horizontal and tilted surfaces – problems – applications.

UNIT – II

Capturing solar radiation: Physical principles of collection – types- liquid flat plate collectors – construction details – performance analysis – concentrating collection – flat plate collectors with plane reflectors – cylindrical parabolic collectors – Orientation and tracking – Performance Analysis

UNIT – III

Power generation : Solar central receiver system – Heliostats and Receiver – Heat transport system – solar distributed receiver system – Power cycles, working fluids and prime movers.

UNIT – IV

Thermal energy storage: Introduction – Need  - Methods of sensible heat storage using solids and liquids – Packed bed storage – Latent heat storage – working principle – construction – application and limitations.

Other solar Devices: stills, air heaters, dryers, solar ponds & solar Refrigeration.

UNIT – V

Direct energy conversion: solid – state principles – semiconductors – solar cells – performance – modular construction – applications.

Economics: Principles of Economics Analysis – Discounted cash flow – Solar system – life cycle costs – cost benefit analysis and optimization – cost based analysis of water heating and photo voltaic applications.

REFERENCES

1.	Principles of solar engineering – Kreith and Kerider, 
 	Taylor & Francis Inc

2.    	Solar energy thermal process – Duffle and Beckman, John Wiley&sons,Inc.,Hoboken,New Jersey

3.    	Solar energy – Sukhatme. T M H

4.    	Solar energy – Grag,  T M H

5.    	Solar energy – Magal, T M H

6.    	Power plant technology by El Wakil

MME1062:  TURBO MACHINES

Lecture	: 4 Periods/week                   		Internal Marks	          : 40

External Marks                  : 60

Credits	:  4         				 External Examination       : 3 Hrs

---------------------------------------------------------------------------------------------------------------

UNIT – I

Introduction: Types of Turbo machines,  Applications of Turbo machines, Performance Characteristics, Methods of Analysis

Dimensional Analysis: Dimensions and Dimensional Homogeneity, Buckingham Pi Theorem, Other Non-dimensional Parameters for Turbo machines, Similarity Laws

Energy Transfer in Turbo machines: Review on Fluid Mechanics Related to Turbo machinery, Energy in Flowing Fluids, Euler Equations, Equations for Axial Flow Machines, Equations for Mixed and Radial Flow Machines. Degree of Reaction

UNIT-II

Centrifugal Pumps: Basic Construction and Classification, Basic Working Principles, Performance Characteristics, Cavitation, Performance Modifications, Preliminary Design Procedure, Pump Performance Tests Axial Flow Pumps and Fans: Introduction, Flow over Isolated Airfoils, Axial Flow Cascade, Preliminary Design Procedure, Propellers

UNIT - III

Centrifugal Fans Blowers and Compressors:  Classification Performance Parameters and Characteristics, Change of Performance, Polytropic Efficiency, Preliminary Design of Centrifugal Compressors

Axial Flow Compressors:  Introduction. Basic Theory, Preliminary Design of Compressor Stage, Determination of Stage Efficiency, Axial Flow Compressor Performance, Surge and Stall in Compressor and the Remedies

UNIT – IV

Gas Turbines: Introduction, Thermodynamics of Axial Flow Turbine,  Degree of Reaction, Preliminary Design Procedure for Turbine Stage, Determination of Turbine Stage Efficiency, Axial Flow Turbine Performance, Compressor, Turbine Matching, Radial Inflow Gas Turbine,  Thermodynamic Processes in Radial Inflow Gas Turbine.

UNIT – V

Wind Turbines: Introduction to Wind Power, Actuator Theory, Types of Wind Turbines, Wind Turbines Characteristics and Preliminary Design Analysis, Variable Speed Performance of Wind Turbines,  Wind Turbine Applications.

REFERENCE BOOKS

1.  	Fundamentals of Turbo machinery: William W Perg, John Wiley & Sons, Inc.

2.  	Principles of Turbo Machinery, D. G. Shepherd, The Macmillan Company

3.  	Gas Turbine Theory, Cohen, H., Rogers, G.E.C., and Saravanamuttoo, H.I.H Longman Group Ltd

4.   	Mechanics and thermodynamics of Propulsion- Philip Hill and Carl Peterson, Prentice Hall

5.   	Fluid Mechanics, Thermodynamics of Turbo machinery, Dixon, Pergamon Press

6.   	Gas Turbines, Ganesan, V Tata McGraw-Hill Pub.Co.Ltd., New Delhi

MME1063:  FINITE ELEMENT METHOD

Lecture	: 4 Periods/week                   		Internal Marks	          : 40

External Marks                  : 60

Credits	:  4         				 External Examination       : 3 Hrs

---------------------------------------------------------------------------------------------------------------

UNIT- I

Basic Concepts: Introduction to  Finite Element Method  - historical back ground- engineering applications of FEM- general description- basic element shapes-finite element modeling-numbering scheme-element connectivity-co ordinates-interpolation functions-properties-Pascal triangle-Pascal pyramid-material properties considered in FEM-types of analysis.

UNIT  - II

One Dimensional Fluid Flow Analysis : Steady flow of viscous incompressible fluids through circular pipes-relationship between pipe resistance, pressure and volume rate of flow-simple hydraulic pipe network problems.

Steady State Heat Transfer Analysis: One dimensional steady state heat conduction- Governing  equation- boundary conditions-one dimensional element-B matrix-conductivity matrix-heat rate vector-composite wall problems.

UNIT  - III

One Dimensional Heat Transfer in Thin Fins: Governing equation- boundary conditions-temperature distribution in thin fins-cylindrical pin fin.

One Dimensional Transient  Heat Conduction: Element matrices for one dimensional unsteady state heat conduction-element capacitance matrix-element conductance matrix-Finite difference methods for the transient response- Forward difference method (explicit method)- Backward difference method (pure implicit method)- Determination of transient temperature distribution in the rod- Time histories of the nodal temperatures.

UNIT – IV

Two Dimensional Steady State Heat Conduction: Governing equation- boundary conditions-Triangular element-Jacobian matrix- B matrix- element conductivity matrix- heat rate vector- problems.

Three Dimensional Heat Transfer: Governing differential equation- boundary conditions-Tetrahedron element- simple problems.

UNIT – V

Numerical Integration: Gauss Quadrature formula-sampling points and weights- Gauss Quadrature for one dimension and two dimensions-sampling points for a 2X2, 3X3 and 2X3 Gauss Quadrature rule-problems.

Mesh Generation & FEM Software: Convergence requirements- mesh generation using Tesselation method, Quadtree method and Octree method- Mesh refinement- h, p, hp and r refinements- band width- pre processor- processor- post processor-Use of software such as ANSYS, CAEFEM, NASTRAN etc.

REFERENCEs

1.	An Introduction to the Finite Element Method – J.N. Reddy /  Tata McGraw- Hill

2.	The Finite Element Method in Engineering – Singiresu S Rao – Butterworth Heinemann

3. 	Introduction to Finite Elements in Engineering – Tirupathi R. Chandrupatla, Ashok D.

Belagundu/Prentice- Hall India.

4.   	Concepts and Applications of Finite Element Analysis – Robert Cook./ John Wiley & Sons

MME151 :  THERMAL ENGINEERING – I LAB.

Lecture	: 3 Periods/week                   		Internal Marks	          : 40

External Marks                  : 60

Credits	:  2         				 External Examination       : 3 Hrs

---------------------------------------------------------------------------------------------------------------

( Any 8 Experiments )

  - Performance test and analysis of exhaust gases of an I.C Engine.

  - Heat Balance sheet, Volumetric Efficiency and air fuel ratio estimation of an

I.C Engine.

  - COP estimation of vapor compression refrigeration test.

  - Performance analysis of Air conditioning unit.

  - Performance analysis of heat pipe.

  - Two phase flow heat transfer

  - Solar Flat Plate Collector.

  - Combustion analysis of computer aided CI engine test rig.

  - Performance analysis of variable compression ratio CI engine.

  - Performance analysis of variable compression

MME201:  INSTRUMENTATION, MEASUREMENTS & EXPERIMENTS IN FLUIDS

Lecture	: 4 Periods/week                   		Internal Marks	          : 40

External Marks                  : 60

Credits	:  4         				 External Examination       : 3 Hrs

---------------------------------------------------------------------------------------------------------------

UNIT - I

Need and Objective of Experimental Study: Introduction, Measurement Systems, Performance Terms

Wind Tunnels: Introduction, Classification, Low-speed Wind Tunnels, Power Losses in Wind Tunnel, Instrumentation and Calibration of Wind Tunnels, Wind Tunnel Balance

UNIT - II

Flow Visualization: Introduction, Classification of Visualization Techniques, Interferometer, Schlieren and  Shadowgraph

Hot-Wire Anemometry: Introduction, Operating Principle, Hot-Wire Filaments, Constant Current Hot-Wire Anemometer (CCA), Constant Temperature Hot-Wire Anemometer, Hot-Wire Probes, Limitations of Hot-Wire Anemometer

UNIT - III

Analog Methods: Introduction, Hale-Shaw Apparatus, Electrolytic Tank, Hydraulic Analogy, Hydraulic  Jumps

Pressure Measurement Techniques: Introduction, Barometers, Manometers, Dial type pressure gauge, Pressure Transducers, Pitot, Static, and Pitot-Static Tube and Its characteristics, Flow direction measurement probes and Low Pressure Measurement Gauges

UNIT - IV

Velocity Measurement: Introduction, Velocity & Mach number from pressure measurements, Laser droplet anemometer- LDA Principle, Doppler shift equation, Reference beam system, Fringe system. Measurement of velocity by Hot-Wire Anemometer, Measurement of velocity using vortex shedding Technique, Fluid Jet Anemometer, Mass & volume flow measurement

UNIT - V

Temperature measurement: Introduction, Types of thermometers, Thermocouples, RTD, Thermisters, Pyrometers, Temperature measurement in fluid flows

Uncertainty Analysis: Introduction, Estimation of measurement errors, External estimation of errors, Internal estimate of the error, Uncertainty Analysis- Uses of uncertainty analysis, Uncertainty estimation, General procedure- Uncertainty in flow Mach number, Uncertainty calculation

REFERENCES

- Instrumentation, Measurements and Experiments in Fluids, E. Rathakrishnan, CRC press, 2007.

- Experimental methods for Engineers, Jack Philip Holman, Walter J. Gajda, Edition: 4, McGraw-Hill, 1984.

- Measurement Systems, Ernest Doebelin, McGraw Hill Professional, 2003.

- Mechanical Measurements, Thomas G. Beckwith, Nelson Lewis Buck, Edition: 5, Addison- Wesley Pub. Co., 1961.

MME202:  NON-CONVENTIONAL SOURCES OF ENERGY

Lecture	: 4 Periods/week                   		Internal Marks	          : 40

External Marks                  : 60

Credits	:  4         				 External Examination        : 3 Hrs

---------------------------------------------------------------------------------------------------------------

UNIT - I

Introduction : Energy Scenario – Survey of Energy Resources – Classification – Need for Non-Conventional Energy Resources.

Solar Energy: The Sun - Sun-Earth Relationship –Solar radiation – Attention –Radiation measuring Instruments.

Solar Energy Applications: Solar water Heating, Space Heating – Active and Passive heating – Energy storage – selective surface – solar stills and ponds – solar refrigeration – photovoltaic generation.

UNIT - II

Wind Energy: Wind – characteristics – wind energy conversion systems – types – Betz model – Interference Factor – Power Coefficient – Torque Coefficient and thrust coefficient – Lift  machines and drag machines – matching – electricity generation..

Geothermal Energy: Structure of Earth – Geothermal Regions – Hot springs – Hot Rocks – Hot Aquifers – Analytical Methods to estimate Thermal Potential – Harnessing Techniques – Electricity Generation Systems.

UNIT - III

Energy From Oceans: Tidal Energy; Tides – Diurnal and Semi – Diurnal Nature – Power from Tides.

Wave Energy : Waves – Theoretical Energy Available – Calculation of period and phase velocity of waves – wave power systems – submerged devices.

Ocean Thermal Energy: Principles – Heat Exchangers – Pumping requirements – Practical Considerations.

UNIT - IV

Bio – Energy: Biomass Energy Sources – Plant Productivity, Biomass Wastes – Aerobic and Anaerobic bio-conversion processes – Raw Materials and properties of Bio-gas-

Bio-gas plant Technology and Status – The Energetic and Economics of Biomass systems – Biomass gasification

UNIT - V

Direct Energy Conversion Systems:

Fuel Cells and Solar Cells–Thermionic and Thermoelectric Generation – MHD Generator-Open and Closed Systems

REFERENCES

- Renewable Energy Resources -John Twidell &Tony Weir,Routledge Publishers

- Biological Energy Resources - Malcolm Flesher & Chrris Lawis

- Renewable Energy Resources – Basic Principles and Applications –  G.N.Tiwari and    M.K.Ghosal, Narosa Publication Ltd.,

- Non-Conventional Energy Sources, G.D Rai, (4th ed.),, Khanna Publishers, New Delhi, India (2000).

- Non-Conventional Energy-Ashok V Desai-Wiley Eastern

MME203:  REFRIGERATION AND AIR CONDITIONING

Lecture	: 4 Periods/week                   		Internal Marks	          : 40

External Marks                  : 60

Credits	:  5         				 External Examination       : 3 Hrs

---------------------------------------------------------------------------------------------------------------

##### UNIT - I

Refrigeration:  Introduction-Necessity and applications, unit of refrigeration, Heat Engine, Refrigerator and Heat Pump-C.O.P and Types of Refrigeration.

Aircraft Refrigeration System: Necessity of Aircraft Refrigeration – Advantages of Air cycle for Aircraft Refrigeration – Classification of Aircraft Refrigeration Systems –Simple air craft Bootstrap– Regenerative air refrigeration systems

Refrigerants: A survey of Refrigerants-Nomenclature, Desirable properties- Classification of Refrigerants – Alternate refrigerants – Ozone depletion potential and Global Warming Potential.

UNIT - II

Vapour Compression Refrigeration: Performance of Vapour Compression System-Subcooling and Superheating-Actual VCR cycle

Multistage Vapour Compression Systems: Introduction-Multi stage or Compound Compression-Multi Evaporator system-Cascade Systems.

UNIT - III

Vapour Absorption Refrigeration System: Description and working of simple and actual Aqua-Ammonia system-Maximum COP-Li-Br Water system-Three fluid absorption system-Applications

Steam Jet Refrigeration System:   Working and Analysis, Applications, merits and demerits

Non-Conventional Refrigeration Methods: Principle and operation of (i) Thermoelectric refrigerator (ii) Vortex tube or Hilsch tube (iii) Pulse Tube (iv) Adiabatic  demagnetization.

## UNIT - IV

Introduction to Air Conditioning: Psychometric properties and processes, Construction of psychometric chart -Requirements of Comfort Air conditioning – Thermodynamics of human body,  Summer, Winter and Year round air conditioning systems-Cooling load estimation.

UNIT-V

Design of Air conditioning systems:  All fresh air, Re-circulated air with and without bypass- factor -ADP, RSHF, GSHF& ESHF for different systems

Heat Pump: Different Heat Pump circuits-Analysis of Heat pump cycle- Applications.

REFERENCES

- “Refrigeration and air conditioning” – C.P.Arora, Tata McGraw-Hill, 2001.

- “ Refrigeration  & Air Conditioning” - Arora & Domkundwar – Dhanpat Rai & Co

- “Refrigeration and Air Conditioning”- Manohar Prasad,  New Age International, 2003.

- “Principles of refrigeration”- Roy J. Dossat . Prentice Hall, 1996.

- “Refrigeration and air conditioning”-Wilbert F. Stoecker, Jerold W. Jones, MGH, 1986.

- “Refrigeration & Air Conditioning” : Anantha Narayana (TMH)

MME204:  DESIGN OF HEAT TRANSFER EQUIPMENT

Lecture	: 4 Periods/week                   		Internal Marks	          : 40

External Marks                  : 60

Credits	:  5         				 External Examination        : 3 Hrs

---------------------------------------------------------------------------------------------------------------

## UNIT - I

Classification of Heat Exchangers:  Introduction- Recuperation & Regeneration-Tubular heat exchangers-Double pipe, Shell and Tube heat exchangers, Plate heat exchanger Exchangers-Plate fin and Tubular fin heat exchangers

Basic Design Methods of Heat Exchangers: Basic equations in Design, Overall heat transfer coefficient-LMTD method for heat exchanger analysis-Parallel flow, Counter flow, Multi pass,

Cross flow heat exchanger design calculations – Effectiveness method (NTU))-Keys and London charts-Compact Heat exchangers – Heat Transfer optimization

## UNIT - II

Design of Condensers: Types of Condensers-Air cooled condenser –Water cooled condensers-Evaporative condensers-Heat Transfer in condensers-Desuperheating-Condensing heat transfer coefficient-Condensation outside horizontal tubes-Condensation inside horizontal tubes-Water side coefficient-Fouling factor-Air side coefficient-Augmentation of condensing heat transfer coefficient-Influence of air inside condensers

## UNIT - III

Design of Evaporators: Types of Evaporators-Heat transfer in Evaporators-Pool boiling – Heat transfer coefficient for Nucleate pool boiling-Flow or forced convection boiling-Forced convection boiling correlations-Horizontal Vs. Vertical tube-Effect of oil in refrigerant on heat transfer-Extended surface evaporators-Cooling and dehumidifying coils-Augmentation of boiling heat transfer-Pressure drop in evaporators

## UNIT - IV

Design of Cooling Towers and Spray Ponds: Classification-performance of cooling towers – analysis of counter flow cooling towers- enthalpy-temperature diagram of air and water- cooling ponds- types of cooling ponds –cross flow cooling towers- procedure for calculation of outlet conditions.

## UNIT - V

Cooling of Electronic Equipment:  Introduction-The chip carrier-Printed circuit boards-Cooling load of Electronic equipment

Conduction Cooling:  Conduction in chip carriers-conduction in printed circuit boards-heat frames.

Air Cooling:  Natural convection and radiation- Forced convection- Fan selection-cooling personal computers

Heat Pipes

REFERENCES

1.  Heat Transfer – Necati Ozisik, TMG

2.  Refrigeration & Air-Conditioning  by C.P.Arora. TMH

3. Cooling Towers –J.D. Gurney, : Maclaren(London)

4.  Heat Exchanger Design- A.P. Frass and M.N. Ozisik, John Wieley & Sons, New York

5.  Heat and mass transfer by Arora & Domkundwar.,Dhanpat rai

6.   Refrigeration & Air-Conditioning   by Stoecker.MGH

7.   Refrigeration & Air Conditioning by Dossat, Preentice Hall of India

MME2051:  THERMAL AND NUCLEAR POWER PLANTS

Lecture	: 4 Periods/week                   		Internal Marks	          : 40

External Marks                  : 60

Credits	:  4         				 External Examination       : 3 Hrs

---------------------------------------------------------------------------------------------------------------

UNIT - I

Introduction-Sources of Energy, Types of Power Plants, Direct Energy Conversion System, Recent developments in Power Generation, Combustion of Coal, Volumetric Analysis, Gravimetric Analysis, Flue Gas Analysis

Fuels and combustion : Coal, fuel oil, natural and petroleum gas, emulsion firing, coal – oil and coal – water mixtures, synthetic fuels, bio-mass, combustion reactions, heat of combustion and enthalpy of combustion, theoretical flame temperature, free energy of formation, equilibrium constant, effect of dissociation

UNIT - II

Steam Power Plants: Introduction-General Layout of Steam Power Plant, Modern Coal fired Steam Power Plants, Power Plant Cycles, Fuel Handling, Combustion Equipment, Ash handling, Dust Collectors- ESP, fabric filters, bag houses

Steam Generators: Basic types of steam generators, Economisers, Superheaters, Reheaters, Steam generator control, air preheater, fluidized bed boilers, feed water treatment, deaeration, evaporation, internal treatment, boiler blow down, steam purity

UNIT - III

Gas Turbine Power Plant: Types-Working-Cogeneration, Combined Cycle with Gas Producton from coal (IGCC  Power Plants), combined cycles using PFBC-system, Combined cycle with organic fluids, advantages of combined cycles, Peformance of Combined cycle, Future of Combined Cycle

Waste Heat Recovery Systems- Introduction, Sources of Waste Heat and Their Grading, Thermodynamic Cycles for Waste Heat Recovery, Recovery forms and Methods, Other uses of Waste Heat

UNIT  - IV

Principles of Nuclear Energy:   Introductin-Atomic structure – Chemical and Nuclear equations – Energy from Nuclear reactions – Nuclear Fission and  Fusion – Energy from fission  and fuel  burn up – Radioactivity – Decay rates and  Half  lifes –Fission reactor types

Nuclear Power Plants: Nuclear Reactors-Classification-Types of Reactors, Site selection, Methods of Enriching Uranium- Applications of Nuclear Power Plants.

Nuclear Power Plant Safety: Bi-Products of Nuclear Power Generation-Nuclear Waste Disposal-Future of Nuclear power.

UNIT - V

Economics of Power Generation: Factors affecting the economics , Load factor, Utilization factor, Performance and operating characteristics of Power plants-Economic load sharing, Depreciation-Energy rates-Criteria for optimum loading-Specific economic energy problems.

Power Plant Instrumentation: Classification-Pressure measuring Instruments-Temperature measurement and Flow measurement-Analysis of combustion gases-Pollution-Types-Methods to control.

REFERENCES

1.  Power Plant Engineering – M.M. EI. Wakil – McGraw Hill

2.  Power Plant Engineering – P.K. Nag-TMH

3.  Power Plant Engineering – Arora & Domkundwar – Dhanpat Rai & Co

4. Introduction to Nuclear Engineering-John R.Lamarsh,Anthony j.Baratta,Printice Hall

MME2052:  COMPUTATIONAL FLUID DYNAMICS

Lecture	: 4 Periods/week                   		Internal Marks	          : 40

External Marks                  : 60

Credits	:  4         				 External Examination       : 3 Hrs

---------------------------------------------------------------------------------------------------------------

UNIT - I

Introduction: Computational Fluid Dynamics as a Research and Design Tool, Applications of Computational Fluid Dynamics

Governing Equations of Fluid Dynamics:   Introduction, Control Volume, Substantial Derivative, Divergence of Velocity, Continuity Equation, Momentum Equation and Energy Equation

UNIT - II

Mathematical Behavior of Partial Differential Equations:

Introduction, Classification of Quasi-Linear Partial Differential Equations, Eigen Value Method, Hyperbolic Equations, Parabolic Equations, Elliptic Equations

UNIT - III

Basics Aspects of Discretization: Introduction, Introduction of Finite Differences, Difference Equations, Explicit and Implicit Approaches, Errors and Stability Analysis, Grid Generation

UNIT - IV

Incompressible Fluid Flow: Introduction, Implicit Crank-Nicholson Technique, Pressure Correction Method, Computation of Boundary Layer Flow

UNIT - V

Heat Transfer: Finite Difference Applications in Heat conduction and Convention – Heat conduction, steady heat conduction, in a rectangular geometry, transient heat conduction, Finite difference application in convective heat transfer.

REFERENCES

- Computational fluid dynamics - Basics with applications - John. D. Anderson / Mc Graw Hill.

- Computational Fluid Mechanics and Heat Transfer, Anderson, D.A.,Tannehill, I.I., and Pletcher, R.H.,Taylor and Francis

- Numerical heat transfer and fluid flow / Suhas V. Patankar- Butter-worth Publishers

- Fundamentals of Computational Fluid Dynamics, T. K Sengupta, University Press

MME2053:  CONVECTIVE HEAT & MASS TRANSFER

Lecture	: 4 Periods/week                    		Internal Marks	          : 40

External Marks                   : 60

Credits	:  4         				 External Examination        : 3 Hrs

---------------------------------------------------------------------------------------------------------------

UNIT - I

Introduction: Convection, review of conservation equations - Forced convection in laminar flow -Exact and approximate solutions of Boundary layer energy equation for plane isothermal plate in longitudinal flow - problems.

Forced convection: heat transfer in laminar tube flow - forced convection in turbulent flow – Internal Flows-Correlations-Problems.

UNIT - II

Free convective: Approximate analysis of laminar free convective heat transfer on a vertical plate-external flows-correlations-problems.

UNIT - III

Boiling and condensation: Analysis of film condensation on a vertical surface – pool boiling - forced convection boiling inside tubes - problems.

UNIT - IV

Mass Transfer: Definitions of concentration and velocities relevant to mass transfer, Fick's law, species conservation equation in different forms.

Steady state diffusion in dilute solutions in stationary media, transient diffusion in dilute solutions in stationary media, one dimensional non dilute diffusion in gases with one component stationary.

UNIT - V

Convective mass transfer : governing equations-forced diffusion from flat plate- Dimension less correlation’s for mass transfer.

Simultaneous heat and mass transfer - analogy between heat, mass and momentum transfer.

REFERENCES

- Heat transfer - J. P. Holman, TMH.

- Heat Transfer – Necati Ozisik  ,TMH

- Heat and Mass transfer- R.C. Sachdeva, New Age

- Convective Heat and Mass Transfer- W.M. Kays & M.E. Crawford (TMH)

- Heat and Mass transfer - V.Gupta and I.Srinivasan - Tata Mc.Graw Hill

MME2061:  JET PROPULSION AND ROCKETRY

Lecture	: 4 Periods/week                   		Internal Marks	          : 40

External Marks                  : 60

Credits	:  4         				 External Examination       : 3 Hrs

---------------------------------------------------------------------------------------------------------------

UNIT - I

Principles of Jet Propulsion: Introduction, Fundamentals of jet propulsion

Air-Breathing Engines: Introduction, Thermodynamics of Aircraft Jet Engines- Turbo jet, Turbo fan, Turbo prop, and Ramjet engines, Typical Engine Performance

UNIT - II

Aero Thermodynamics of Inlet, Combustors and Nozzles: Introduction, Subsonic Inlets, Supersonic Inlets, Gas Turbine Combustors, After burners and Ram jet Combustors, Supersonic Combustion, Exhaust Nozzles

UNIT - III

Performance of Rocket Vehicles: Introduction, Static Performance, Vehicle Acceleration, Gravity-Free Drag-Free Space Flight,  Forces Acting on a Vehicle in the Atmosphere, Basic Relations of Motion, Space Flight, Flight Maneuvers, Effect of Propulsion System on Vehicle Performance, Flight Vehicles,  Military Missiles, Flight Stability, Chemical Rockets

UNIT - IV

Liquid Propellant Rocket Engine Fundamentals: Types of Propellants, Propellant Tanks, Propellant Feed Systems, Gas Pressure Feed Systems, Tank Pressurization, Turbopump Feed Systems and Engine Cycles

Solid Propellant Rocket Fundamentals: Basic Relations and Propellant Burning Rate, Other Performance Issues. Propellant Grain and Grain Configuration, Propellant Grain Stress and Strain, Attitude Control and Side Maneuvers with Solid Propellant Rocket

UNIT - V

Liquid Propellants: Propellant Properties, Liquid Oxidizers, Liquid Fuels, Liquid Monopropellants, Gelled Propellants, Gaseous Propellants, Safety and Environmental Concerns

Solid Propellants:  Classification, Propellant Characteristics, Hazards, Propellant Ingredients, Other Propellant Categories, Liners, Insulators, and Inhibitors, Propellant Processing and Manufacture

REFERENCES

- Mechanics and Dynamics of Propulsion –Philip Hill and Carl Peterson.- Addison-Wesley

- Rocket Propulsion Elements – P.Sutton & Oscar Billarz-John Wiley& sons

- Gas Turbine Theory- Henry Cohen, G. F. C. Rogers, H. I. H. Saravanamuttoo,  Longman Group Ltd

4.  		Rocket and Spacecraft Propulsion, Martin J.L. Turner, Springer

MME2062:  CRYOGENIC ENGINEERING

Lecture	: 4 Periods/week                   		Internal Marks	          : 40

External Marks                  : 60

Credits	:  4         				 External Examination       : 3 Hrs

---------------------------------------------------------------------------------------------------------------

UNIT - I

Introduction to Cryogenic System: Introduction- Historical development-Mechanical Properties  –Thermal properties-Electric and Magnetic properties – Properties of cryogenic fluids.

UNIT - II

Gas Liquefaction : Minimum work for liquefaction – Methods to produce low temperature – Liquefaction systems for gases other than Neon, Hydrogen and Helium.  Liquefaction systems for Neon, Hydrogen and Helium.

UNIT - III

Components of Liquefaction Systems: Heat Exchangers – Compressors and Expanders – Expansion valve – Losses  for real machines.

UNIT - IV

Gas Separation and Purification System: Properties of mixtures – Principles of mixtures – Principles of gas separation – Air separation systems.

Cryogenic Refrigeration system – Working media – Solids, Liquids and gases.

UNIT - V

Cryogenic fluid Storage & Transfer – Cryogenic storage systems – Insulation Fluid transfer mechanics – Cryostat – Cryo Coolers.

Applications: Space technology – in- flight air separation and collection of LOX – Gas Industry – Biology - Medicine - Electronics.

REFERENCES

- Cryogenic Systems-   R..Barron. Mc Graw Hill company.

- Cryogenic Research and Applications-Marshal Sitting, Von Nostrand Inc, New Jersey

- Cryogenics Engineering –R.B. Scott, Von Nostrand Inc, New Jersey

- Cryogenic Engineering -Huston: McGraw Hill

- Refrigeration and Air-conditioning - Arora & Domkundwar, Dhanpat Rai & Co

- Hand book of cryogenic engineering-J.G.Weisend-II, Taylor and Francis,1998.

MME2063:  ADVANCED OPTIMIZATION TECHNIQUES

Lecture	: 4 Periods/week                   		Internal Marks	          : 40

External Marks                  : 60

Credits	:  4         				 External Examination       : 3 Hrs

---------------------------------------------------------------------------------------------------------------

UNIT- I

Linear Programming: Introduction to Linear Programming, Two phase Simplex method, Big-M method ,duality, interpretation, applications.

UNIT- II

Assignment problems: Hungarian’s algorithm, Degeneracy, applications, unbalanced problems, travelling salesman problem.

Classical optimization techniques: Single variable optimization with and without constraints, multi-variable optimization without constraints, multi-variable optimization with constraints-method of Lagrange multipliers, Kuhn- Tucker conditions.

UNIT- III

Numerical methods for optimization: Nelder Mead’s Simplex search method, Gradient of a function, steepest descent method, Newton’s method, types of penalty methods for handling constraints.

UNIT- IV

Genetic Algorithm (GA): Introduction, Differences and similarities between conventional and evolutionary algorithms, working principle, reproduction, crossover, mutation, termination criteria, different reproduction and crossover operators, GA for constrained optimization, draw backs of GA.

UNIT- V

Applications of Optimization in Design and Manufacturing systems: Some typical applications like optimization of path synthesis of a four-bar mechanism, minimization of weight of a cantilever beam, optimization of springs and gears, general optimization model of a machining process, optimization of arc welding parameters, and general procedure in optimizing machining operations sequence.

REFERENCES

- Optimal design- Jasbir Arora, Mc Graw Hill Publishers

- Optimization for Engineering Design- Kalyanmoy Deb, PHI publishers

- Engineering Optimization- S.S.Rao, New Age Publishers

- Genetic algorithms in search, Optimization, and Machine learning- D.E. Goldberg, Addison Wesley Publishers

- Genetic Programming, J.R.Koza,M.A.keane,J.Yu,F.H.Bennett,2000-Springer

MME251:  THERMAL ENGINEERING – II LAB.

Lecture	: 3 Periods/week                   		Internal Marks	          : 40

External Marks                  : 60

Credits	:  2         				 External Examination       : 3 Hrs

---------------------------------------------------------------------------------------------------------------

(Any 8 Experiments)

- Wind Tunnel Calibration

- Pressure distribution of  Circular Cylinder in Low speed Wind Tunnel

- Generation of potential flow pattern over circular cylinder using Hele-Shaw Apparatus

- Generation of Potential flow pattern over  non-circular objects using Hele-Shaw Apparatus

- Flow Visualization study of  Circular Cylinder in water channel

- Flow Visualization study of Non-circular objects in water channel

- Flow over a Flat Plate  using Computational Fluid Dynamics package (CFD)

- Flow over a Symmetric Aerofoil Computational Fluid Dynamics package (CFD)

- Flow over a Circular Cylinder    Computational Fluid Dynamics package     (CFD)

- Estimation of Bio-Gas Characteristics

- Calibration of Convergent-Divergent Nozzle

- Estimation of Mach Number of Nozzle by Various Methods

- Subsonic Jet Characteristics

- Water Jet Characteristics

# Text boxes

Semester Number

M.TECH Course

Course Type

Course Number