## Slide 1
Lecture No:01
Topic: Power System Network Representation
Course: Power System Analysis
Presented by
Dr M.S.Giridhar
Professor, Department of EEE
Lakireddy Bali Reddy College of Engineering (Autonomous)
Developed by
Jawaharlal Nehru Technological University Kakinada
www.jntuk.edu.in

## Slide 2: UNIT - I –SYLLABUS (JNTUK-R20) Circuit Topology & Per Unit Representation
Graph theory definition – Formation of element node incidence and bus incidence matrices – Primitive network representation – Formation of Ybus matrix by singular transformation and direct inspection methods – Per Unit Quantities–Single line diagram – Impedance diagram of a power system – Numerical Problems.

## Slide 3: Power System – One Line Diagram
1
2
4
3
Generator-1
Generator Bus-bar
Step-Up Transformer
Step-Up Transformer
Generator-2
Generator-3
Load
Step-Down Transformer

## Slide 4: Positive Sequence Network Diagram
1
2
4
3

## Slide 5: Oriented Connected Graph of a given Power System Network
1
2
4
3
Generator-1
Generator Bus-bar
Step-Up Transformer
Step-Up Transformer
Generator-2
Generator-3
Load
Step-Down Transformer

## Slide 6: Oriented Connected Graph of a given Power System Network
7
A
5
4
D
3
2
B
6
1
1
C

## Slide 7: Graph Theory - Definitions
GRAPHS: A graph shows the geometrical interconnection of the elements of a network.
SUB-GRAPH: A sub-graph is any subset of elements of the graph.
PATH: A path is a sub-graph of connected elements with no more than two elements connected to any one node.
Note: A graph is connected if and only if there is a path between every pair of nodes. If each element of the connected graph is assigned a direction it is then oriented.

## Slide 8: Graph Theory - Definitions
TREE: A connected sub-graph containing all nodes of a graph but no closed path is called a tree. The elements of a tree are called branches.
Number of branches ‘b’ required to form a tree is b= n-1,
where ‘n’ is the number of nodes in the graph
CO-TREE: Those elements of connected graph that are not included in the tree are called links and they from a subgraph, not necessarly connected, called co-tree.
Note: The Co-tree is a complement of a tree

## Slide 9: Graph Theory – Definitions Cont.,
CUT-SET: A cut-set is a set of elements that, if removed, divides a connected graph into two connected sub-graphs.
If each cut-set contains only one branch then it is an independent or basic cut-set.
Number of basic cut-sets = number of branches of a tree
Orientation of basic cut-set is chosen to be the same as that of its branches

## Slide 10: Oriented Connected Graph of a given Power System Network
1
2
4
3
Generator-1
Generator Bus-bar
Step-Up Transformer
Step-Up Transformer
Generator-2
Generator-3
Load
Step-Down Transformer

## Slide 11: Tree branches, Links, Loops,… e = 7, b = 4, n = 5 and l = 3
7
A
5
4
D
3
2
B
6
1
1
C

## Slide 12
7
A
5
D
3
2
B
6
1
0
C
d
c
a
b
Basic cut-sets of a connected graph

## Slide 13: Graph Theory – Definitions Cont.,
LINKS: Those elements of the connected graph that are not included in the tree are called links and form a sub-graph, not necessarily connected is called the co-tree.
l = e-b = e-n+1
Where l = number of links, e is the number of elements and n is the number of nodes in a graph

## Slide 14: Links, Loops of a connected graph
7
A
5
4
D
3
2
B
6
1
1
C
e
f
g

## Slide 15: Graph Theory – Definitions Cont.,
LOOP: If the link is added to the tree, the resulting graph contains one closed path called a loop.
Note: Loops which contain only one link are called independent or basic loops.
Basic loops: Loops which contain only one link are called independent or basic loops.
Number of basic loops = number of links
The orientations of basic loops are same as that of its links