## Slide 1
Lecture No:12
Topic: Classification of Power System Buses
Course: Power System Analysis
Presented by
Dr M.S.Giridhar
Professor, Department of EEE
Lakireddy Bali Reddy College of Engineering (Autonomous)
Developed by
Jawaharlal Nehru Technological University Kakinada
www.jntuk.edu.in

## Slide 2: Power flow problem
Pm
Pi_sch
ith BUS
Pn
P2
Pk
G
Pdi
Pgi
Eqs.(3) & (4)

## Slide 3: Power flow problem
Eqs.(1) & (2)

## Slide 4: Unknown Quantities at each BUS
Active Power Injected at Bus-i Pi
Reactive Power Injected at Bus-i Qi
Voltage Magnitude at Bus-i |Vi|
Voltage Angle at Bus-i i
Each bus of the network has two such equations, and the power-flow problem is to solve Eqs.(1) and (2) for values of the unknown bus voltages which cause Eqs.(3) and (4) to be numerically satisfied at each bus.

## Slide 5: Types of Buses in power system network
Load Buses
Voltage-controlled Buses
Slack Bus
Pi and Qi are Known quantities
Pi and |Vi| are Known quantities
|V1|and 1 are known's
|Vi|and i are Unknowns
Qi and i are Unknowns
P1 and Q1 are Unknown quantities
Reference Bus is responsible for supplying the losses of the system

## Slide 6: Number of buses in power system network
Ng
Voltage controlled Buses (PV-Buses)
N-Ng-1
Load Buses (PQ-Buses)
N-Bus Power System Network
Slack Bus
(only ONE)

## Slide 7: Number of Equations in power system network
Ng
Voltage controlled Buses (PV-Buses)
2(N-Ng-1 )
Load Buses (PQ-Buses)
(2N-Ng-2) equations Power System Network
Slack Bus
(ZERO)

## Slide 8: Power Flow Solution
The unscheduled bus-voltage magnitudes and angles in the input data of the power-flow study, are called state variables or dependent variables since their values, which describe the state of the system, depend on the quantities specified at all the buses.
Hence, the power-flow problem is to determine values for all state variables by solving an equal number of power-flow equations based on the input data specifications .

## Slide 9: Gauss-Seidal Power Flow Solution-Mathematical Formulation

## Slide 10: Derivation of static power flow equations
Assuming a system having n buses, the injected current to the bus (node) ‘i’ can be expressed as:

## Slide 11: Derivation of static power flow equations
Where, Pi and Qi are the active and reactive power injection at bus k respectively. Thus, at each bus we have two equations and four variables (P, Q, δ, V). Note that Y's and θ's are known from network data. Actually, at each bus we have to specify two variables and solve for the remaining two unknowns. Thus, for an N bus system 2N equations are solved. These 2N equations are nonlinear equations as they involve products of variables as well as sine and cosine functions.

## Slide 12: Bus Information and Line Flows
Bus No | Bus Name | Voltage (p.u) | Angle (deg) | Pg (MW) | Qg (Mvar) | Pd (MW) | Qd (Mvar) | Bus Type | Bus-to-Bus | Pline (MW) | Qline (Mvar)
1 | Brich | 1.0 | 0 | 186.2 | 114.5 | 50.4 | 31.2 | Slack | 2-3 | 38.69 | 22.3
2 | Elm | 0.982 | -0.976 | 0 | 0 | 170 | 105.3 | PQ | 1-2 | -38.46 | -31.24
3 | Pine | 0.986 | -1.872 | 0 | 0 | 200 | 123.9 | PQ | 2-4 |  | 
4 | Maple | 1.02 | 1.523 | 318 | 181.3 | 80 | 49.63 | PV | 3-4 |  | 
G1
G2
1
2
3
4

## Slide 13: Line Data
Line | R (p.u) | X (p.u) | G (p.u) | B (p.u) | Total Charging (Mvar) | Y/2 (p.u)
1-2 | 0.01008 | 0.0504 | 3.81562 | -19.078144 | 10.25 | 0.05125
2-3 | 0.00744 | 0.0372 | 5.169561 | -25.847809 | 7.75 | 0.03875
2-4 | 0.00744 | 0.0372 | 5.169561 | -25.847809 | 7.75 | 0.03875
3-4 | 0.01272 | 0.0636 | 3.023705 | -15.128528 | 12.75 | 0.06375
Note: Base 100 MVA, 230 kV.