## Slide 1
Lecture No:15
Topic: Power Flow Solution GS-Method-Algorithm
Course: Power System Analysis
Presented by
Dr M.S.Giridhar
Professor, Department of EEE
Lakireddy Bali Reddy College of Engineering (Autonomous)
Developed by
Jawaharlal Nehru Technological University Kakinada
www.jntuk.edu.in

## Slide 2: CASE-I (1-slack bus and all other buses are PQ-buses)
Algorithm for power flow solution:
The slack bus voltage magnitude and angle are assumed, usually V100 p.u. with the load profile known at each bus (i.e PDi and QDi­ are known).
We allocate PGi and QGi to all generating stations. With this step, bus injections (Pi+jQi) are known at all buses other than the slack bus.
Form YBUS using singular transformation method from the selected graph for the given one-line diagram of the power system.
Compute the bus voltages using the iterative voltage equation as

## Slide 3: Iterative steps
Check for the convergence

## Slide 4: Line power Flows
Compute the power flow from the obtained bus voltages in
step-3 and currents from step-5
Compute the line flow from the obtained bus voltages in step-3

## Slide 5: Convergence
Acceleration of Convergence
Convergence in the gauss-seidal method can some times be speeded up by the use of the acceleration factor
Where α is a real number (generally α = 1.6)