## Slide 1
Lecture No:16
Topic: Solution of Nonlinear Algebraic Equations-NR Method
Course: Power System Analysis
Presented by
Dr M.S.Giridhar
Professor, Department of EEE
Lakireddy Bali Reddy College of Engineering (Autonomous)
Developed by
Jawaharlal Nehru Technological University Kakinada
www.jntuk.edu.in

## Slide 2: Non-linear Algebraic equation - Taylor’s Series
Let us consider the equation of a function h1 of two variables x1 and x2 equal to a constant b1 expressed as
Calculated Values
Specified Values

## Slide 3
x2
x1

## Slide 4
For a Specified value of ‘u’ let us estimate the solution of these equations to be x1(0) and x2(0). The 0 superscript indicates that these values are initial values, not the actual solutions x1* and x2*. So, we can write
Now the problem is to solve for x1(0) and x2(0).. Which we can do by expanding the above equation by Taylor’s series about the assumed solution as

## Slide 5
In Power Flow Solution