## Slide 1
Lecture No:21
Topic: Sequence Components – Unsymmetrical Fault current calculations
Course: Power System Analysis
Presented by
Dr M.S.Giridhar
Professor, Department of EEE
Lakireddy Bali Reddy College of Engineering (Autonomous)
Developed by
Jawaharlal Nehru Technological University Kakinada
www.jntuk.edu.in

## Slide 2
a
b
c
a
b
c
a
b
c
+ve Seq. Component
0 Sequence
-ve Sequence
Sequence components

## Slide 3
a1
b1
a2
a0
a
b
b2
c2
c1
c0
b0
a2
c2
b2
Negative Seq.components
Unbalanced system
c
Zero Seq.components
a0
b0
c0
a1
c1
b1
Positive Seq.component
Unbalanced System and Sequence Components

## Slide 4
a
3a0
a
q
c
b
a
b
c
3a2
a
c
b
Unbalanced System
Zero Seq. Components
Positive Seq. Components
Negative Seq. Components
3a1
c
Extracting Sequence Components

## Slide 5: Advantages of Sequence Transformation
Used when the network is balanced. Provides decoupling in the network. A 3nX3n Linear System Solver is decoupled into three n X n Linear System Solver.
Load may be balanced or unbalanced.
Zero sequence currents provide sensitive earth fault detection technique.

## Slide 6: Problem: Symmetrical components
A delta connected balanced resistive load is connected across an unbalanced three-phase supply as shown in Fig. With the current in lines A and B specified, find the symmetrical components of line currents also find the symmetrical components of the delta currents.
R
R
R
A
B
C
10300
15-600

## Slide 7: Solution
IA+IB+IC = 0 as there is no neutral connection for a delta connection system
10300+15-600+Ic = 0
Ic = -(10300+15-600)
Ic = -(10(cos(300)+j×sin(300))) + (15(cos(-600)+j×sin(-600)))
Ic = -16.2 +j×8 = 181540

## Slide 8: Symmetrical components of line currents

## Slide 9: Solution
Ia1 = 1/3(10300+15600+1200+181540+2400)
= 10.35+j9.3 = 14420
Ia2 = 1/3(10300+15600+2400+181540+1200)
= -1.7-j4.3 = 4.652480
Ia0 = 1/3(IA+IB+IC) = 0

## Slide 10: Solution
The set of balanced phasors with reference to Ia and its phase sequence are calculated as
Ia1, Ib1 = 2Ia1 and Ic1 =  Ia1
Ia2, Ib2 = Ia2 and Ic2 = 2 Ia2
Ia0, Ib0 = Ia0 and Ic0 = Ia0