## Slide 1
Lecture No:30
Topic: SINGLE LINE-TO-GROUND (LG) FAULT ANALYSIS
Course: Power System Analysis
Presented by
Dr M.S.Giridhar
Professor, Department of EEE
Lakireddy Bali Reddy College of Engineering (Autonomous)
Developed by
Jawaharlal Nehru Technological University Kakinada
www.jntuk.edu.in

## Slide 2: SINGLE LINE-TO-GROUND (LG) FAULT
a
b
c
Ib = 0
Ic = 0
Ia
Zf
F
Ia

## Slide 3: LG-Fault
At the fault F, the current in lines and the line-to-ground voltages are constrained as
Ib = 0-------------(1)
Ic = 0-------------------(2)
Va = Zf Ia-----------------(3)
The symmertrical components of the fault currents are

## Slide 4: LG-Fault
So, -----------------(4)
Writing eq.(3) in terms of symmetrical components, we have
These equations suggest that the sequence networks are to be connected in series through an impedance of as shown in fig.
So,
The fault current is

## Slide 5
E00
Z1
Va1
Ia1
Z2
Va2
Ia2
Z0
Va0
Ia0
3Zf
3Zf
IaZf
SINGLE LINE TO GROUND FAULT

## Slide 6: Phase Voltages
The voltage of line b to ground under fault conditions is
Substituting for
in the above equation we have