## Slide 1
Topic: Power System Network Representation
Course: Power System Analysis
Presented by
Dr M.S.Giridhar
Professor, Department of EEE
Lakireddy Bali Reddy College of Engineering (Autonomous)
Developed by
Jawaharlal Nehru Technological University Kakinada
www.jntuk.edu.in

## Slide 2: Power System – One Line Diagram
1
2
4
3
Generator-1
Generator Bus-bar
Step-Up Transformer
Step-Up Transformer
Generator-2
Generator-3
Load
Step-Down Transformer

## Slide 3: Positive Sequence Network Diagram
1
2
4
3

## Slide 4: Power System Analysis
Orientation of Engineering problems to computers
Problem definition
Mathematical formulation
Selection of solution Technique
Program Design

## Slide 5: Problem definition
Identify the input data, Objective, Limitations and Desired results for making engineering judgments

## Slide 6: Mathematical formulation
Physical system – mathematical model – characteristics of individual system components – relations governing the interconnection of the elements

## Slide 7: Selection of solution Technique
Nonlinear algebraic equations
Differential equations
Trigonometric functions

## Slide 8: Program Design
Programming
Verification
Application